# Stormwater Management Facility Inspection

Owner Name:

Property Address:

Date Installed:

O&M Plan Up-To-Date?

Name of Inspector:

Inspector affiliation (Company, Dept., Private Individual, etc.):

Date of Inspection: Type of Inspection (annual, regulatory, follow-up):

Phone Number: Email Address:

Facility Inspection

Instructions: Use the key on back page to indicate the maintenance issue(s) each stormwater system on your property is experiencing. Document the corrective action that was taken and the date corrected. For further information, please refer to the guidance page attached.

| DMA Facility # | Issue(s) # (Use key on back pg.) | Corrective Action Performed | Date Corrected |
| --- | --- | --- | --- |
| EXAMPLE: BIO 1 | #2; #6 | Debris removed; Mulch added to bare areas | 2-1-19 |
| BIO 2 | #10: No Issues | N/A | N/A |
| PERM PAVE 3 | #3 | Pavers vacuumed and sediment removed | 2-1-19 |

| Maintenance and Performance Issues Key |  |  |  |  |
| --- | --- | --- | --- | --- |
| Review the Stormwater Facility Maintenance Guide on the following page for a description of specific facility conditions when maintenance is needed and when the facility is properly maintained. |  |  |  |  |
| - Standing/Flowing Water | - Trash or Debris | - Sediment | - Erosion | - Vegetation |
| - Surface Materials | - Contamination or Pollution | - Structural Damage | - Misc. | - No Issue |

Notes: (further explain any maintenance or performance issues. Attach records, photos, or any other relevant information)

Certification: I certify that this document and all attachments were prepared under my direction or supervision and the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are penalties for submitting false information, including the possibility of a fine for knowing violations.

Signature:___________________________________	   	Date:_______________________________________

Printed Name:_______________________________		Inspector Affiliation:___________________________

IMPORTANT:

Return this completed form annually to local stormwater coordinator by December 31st of each year.  Forms can be sent to address or e-mailed to email address. If you have any questions, contact your local stormwater coordinator at phone number.

If certified inspection form is not received, the County/Municipality reserves the right to inspect the facility at owners’ expense as per Municipal Code.

|  | Type of System |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Issue # | Bioretention | Bioretention Swale | Vegetated Swale | Sand Filter | Rock Infiltration Trench | Flow through Planter | Vegetated Green Roof | Cistern | Permeable Pavement |  | Issue | Conditions When Maintenance Is Needed | Results Expected When Maintenance Is Performed |
| 1 | X | X | X | X | X | X |  |  | X |  | Standing/Flowing Water | Water stands within the system between storms and does not drain within 24 hours after rainfall. Mosquito larvae observed. Vegetated Swale: When small quantities of water continually flow through the swale, even when it has been dry for weeks, and an eroded muddy channel has formed in the swale bottom | There should be no areas of standing water within 24-72 hours of rain event. Any of the following could apply (depending on the particular BMP): sediment or trash blockages removed, grade from head to foot of system area improved, underdrain clean-outs flushed in manner that does not cause an illegal discharge, media surface scarified, permeable pavement vacuumed. No mosquito breeding if standing water is removed. Vegetated Swale: A low-flow pea gravel drain can be added to the length of the swale or an underdrain can be installed to prevent an eroded or muddy channel |
| 2 | X | X | X | X | X | X |  | X | X |  | Trash and Debris | Trash and debris accumulated in the system and around the inlet and outlet. Cistern: Debris is clogging first flush diverter filter or inlet/outlet. | Trash and debris removed from the system and disposed of properly. Cistern: First flush should be diverted away when debris removed from diverter. Water should freely flow in or out of system. Cistern should drain as per the rate designed. |
| 3 | X | X |  | X | X | X |  | X | X |  | Sediment | Evidence of accumulated sediment in the system that causes low flow in or out of system or reduces infiltration. | Material removed so that there is no clogging or blockage. Permeable Pavement vacuumed to allow for infiltration. Material is disposed of properly. |
| 4 | X | X | X | X | X | X | X |  |  |  | Erosion | Channels or rills have formed, there are areas of bare soil, or there is other evidence of erosion. If a flow spreader is used it is uneven or clogged. Flows cause erosion when water cannot be uniformly distributed through entire swale width. | Obstructions and sediment removed so that water flows freely and disperses over a wide area. Obstructions and sediment are disposed of properly. Eroded area re-vegetated if applicable. Green roof: Consider media more resistant to wind erosion or installing media retention components. |
| 5 | X | X | X |  |  | X | X |  | X |  | Vegetation | Vegetation is dead, diseased or overgrown. Excessive weed growth. Vegetation blocking in-flow at curb cut; blocking O&M of other components; obstructing line of sight at roadway or intersection. Permeable Pavement: Vegetation around the perimeter of the pavement is dead, diseased, or overgrown. Weeds are growing on the surface of the pavement Vegetated Swale: Grass is sparse, bare, or eroded patches occur in more than 10% of the swale bottom. Grass is excessively tall (greater than 10 inches) or nuisance weeds and other vegetation start to take over. Vegetation growth is poor because sunlight does not reach swale. | Vegetation is healthy and attractive. Grass is maintained at least 3 inches in height. Weeds removed. Obstructing vegetation removed. Permeable Pavement: Areas adjacent to pavement are well maintained and no bare/exposed areas exist that could transfer soil to pavement and clog system. No weeds present in the pavement area Vegetated Swale: Vegetation coverage is in more than 90% of the swale bottom. Vegetation mowed at a height of 4-6 inches. Nuisance weeds removed so that flow is not impeded. Grass clippings removed. Overhanging limbs and brushy vegetation on side slopes trimmed back. |
| 6 | X | X |  |  | X | X |  |  |  |  | Surface Materials | Material is missing or patchy. Areas of bare earth are exposed, or mulch layer is less than 3 inches deep, or mulch is piled too high (i.e. within 6 inches of the overflow elevation) | All bare earth is covered, except mulch is kept 6 inches away from trunks of trees and shrubs. Mulch is even at a depth of 3 inches and is 6 inches below the elevation of the overflow |
| 7 | X | X | X | X | X | X | X | X | X |  | Contaminants and Pollution | Visual or olfactory evidence of oil, gasoline, sewage, contaminants, or other pollutants. | No visual or olfactory evidence of contaminants or pollutants present. Source of pollution removed or contained and disposed of properly. |
| 8 | X | X | X | X | X | X | X | X | X |  | Structural Damage | Planter edges, check dams, irrigation system, or outlet structure show damage. Surrounding impervious areas or structures damaged. Rodent or wildlife damage. Permeable pavement is cracked, paver blocks are misaligned or have settled. Cistern leaks or outlet allows excessive flow and drains in less than 24 hours. Green roof is leaking | Structures should have no signs of cracks or damage. Hydraulic restriction layers should prevent impacts from infiltration to surrounding structures. Permeable pavement should not show signs of settling or uneven areas. Cistern holds water. Repair or replace green roof liner as necessary. |
| 9 | X | X | X | X | X | X | X | X | X |  | Misc. | Unauthorized changes made to the facility OR Any condition not covered that needs attention for the system to function as designed. | The design specifications are met. |